ANNUAL ELECTRICAL MAINTENANCE CONTRACT FOR SUBHASH BOSE PARK, ERNAKULAM-KOCHI MUNICIPAL CORPORATION

Specification

* Daily operation of Electrical lights, and Musical systems-Timely ‘on’ and ‘off‘
* Maintenance and up keeping of all types of Electrical lights (CF lamps,Tubelights,LEDs,High mast light etc),Electrical Motor pumpsets and Musical system at Subash Bose Park throughout a period of one year
* Replacing the damaged spare parts, repairing of UG cables, electrical wire, fuse links, including rewinding of motors as per requirements (including cost of materials &labour charges) and making the light fittings, Electrical motors and musical system in good working condition as per the department directions.
* Weekly cleaning of all electrical fixtures, lights, streetlight poles etc. and maintain all items in satisfactory condition as per department directions.